**MEETING OF MAYOR AND BOARD OF ALDERMEN**

**PUBLIC WORKS REPORT**

**05/18/2020**

**WATER / GAS / SEWER / SEWER LAGOONS / STREETS / PARK**

**Item 1. Water**

Grade II Water Certification Test have been rescheduled to November 5th and 6th due to virus.

Painting of fire hydrants have been started.

Repaired 3 water leaks since last meeting.

Contractors waiting for vegetation growth to start grading of yards on Grant Lane.

We need a change order to add blow-off plug on Highway 14, also to add valve at Hogan Road.

**Item 2. Gas**

Sniff test have been done for month. Critical valves have been turned. We had a pressure

increase at Richland Hills Regulator Station, had to call Sullivan Gas to lower pressure.

**Item 3**. **Sewer / Sewer Lagoons**

From Sewer Inspection: Industrial Waste Survey has been completed. Waypoint will let us know

when to start composite samples for Total Nitrate and Total Phosphorus.

Richland Hills lift station: #1 motor, #2 motors and vacuum pumps have been replaced.

**Item 4. Streets**

We need to pay Mr. Jones for services rendered.

Black Diamond Paving gave a bid of $19,600.00 to patch four streets.

**Item 5. Park**

Park is still closed.